COMMON INTEREST COMMUNITY STANDARDS COUNCIL

Sample RFP  /  Standalone Draft / Tier 1–2

Swimming Pool

& Spa Service

Sample RFP for an annual commercial pool and spa service contract for Tarpon Bay Condominium Association, Inc., an example Florida residential condominium. Edit and adapt to your community.

RESOURCE TYPE

Standalone Draft  •  Florida Sample

AUDIENCE

Condominium Boards  •  Association Managers  •  Self-Managed Associations

PAIRS WITH

RFP Tier 1/2 Adoption-Ready Template  •  Comparative Proposal Evaluation Worksheet

PUBLISHED BY

Common Interest Community Standards Council  •  CIC-SC.org

THIS IS A FULLY POPULATED EXAMPLE The names, dates, dollar values, and equipment described in this draft are illustrative. Replace them with your association’s information before issuing. The structure, scope language, evaluation criteria, insurance limits, and contract terms reflect CIC-SC best practice for a 12-month commercial pool service contract serving a Florida condominium subject to Chapter 718 of the Florida Statutes.

FLORIDA § 718.3026 REMINDER Florida condominium associations are subject to Fla. Stat. § 718.3026 (Contracts for products and services), which can require competitive bids when an aggregate contract exceeds 5% of the association’s annual budget (with statutory exceptions). Confirm current effective text and your association’s thresholds with counsel before issuing.

SECTION 1

# Project Information

This Request for Proposal is issued by Tarpon Bay Condominium Association, Inc., a Florida residential condominium association governed by Chapter 718 of the Florida Statutes, for a twelve-month commercial pool and spa service contract beginning January 1, 2027.

| Issuing Association | Tarpon Bay Condominium Association, Inc. |
| --- | --- |
| Property Address | 1820 Tarpon Bay Drive, Naples, Florida 34104 |
| State of Operation | Florida |
| Service Category | Commercial Swimming Pool & Spa Service |
| RFP Reference # | 2026-08-POOL |
| Performance Period | January 1, 2027 through December 31, 2027 |
| Term Type | 12-month, with two (2) one-year renewal options at the Association’s sole discretion |
| Primary Point of Contact | Marcus Hill, Association Manager |
| Email | rfp@tarponbay-condo.example |
| Phone | (239) 555-0184 |

SECTION 2

# Schedule of Milestones

All times are local time at the property.

| MILESTONE | DATE / TIME |
| --- | --- |
| RFP released | August 28, 2026 |
| Mandatory pre-proposal site visit | September 11, 2026 • 10:00 AM • Pool Deck |
| Bidder questions due | September 17, 2026 • 5:00 PM |
| Association responses to questions | September 22, 2026 |
| Proposals due (sealed, by email) | October 2, 2026 • 5:00 PM |
| Evaluation period | October 5 – 14, 2026 |
| Vendor follow-up clarifications | October 15 – 20, 2026 |
| Notice of Intent to Award | October 27, 2026 |
| Contract negotiation period | October 28 – November 11, 2026 |
| Contract start (Performance Period) | January 1, 2027 |

SECTION 3

# Statement of Work

### 3.1  Pool & Equipment Description

- Outdoor heated commercial pool: approximately 7,500 gallons; gunite finish; 4-foot depth, 32 ft. x 16 ft.; one in-floor cleaning system; one variable-speed pump; cartridge filtration; UV / mineral sanitization plus chlorine residual.

- Outdoor heated spa: approximately 600 gallons; gunite; eight (8) jets; separate variable-speed pump; cartridge filtration; chlorine residual.

- Equipment room enclosed, key-coded, separate water meter; chemical storage room with eyewash station and SDS binder.

- Pool deck approximately 3,800 sq. ft., concrete cool-deck finish, four (4) safety equipment stations, one (1) emergency phone, ADA-compliant lift.

- Florida-licensed pool service contractor required for all chemical and mechanical work (FL DBPR Commercial Pool Servicing Contractor licensure or equivalent recognized category).

### 3.2  Recurring Services Included

- Three (3) service visits per week, all chemical, mechanical, and aesthetic items required for compliance with Fla. Admin. Code Ch. 64E-9 (Public Swimming Pools and Bathing Places). Service log left on-site after each visit.

- Daily on-site water-clarity walkthrough by Association staff is performed; vendor’s recurring scope is the three weekly chemical / mechanical visits described above.

- Water testing — total chlorine, free chlorine, combined chlorine, pH, total alkalinity, calcium hardness, cyanuric acid, and saturation index — at every visit; results recorded in the on-site log and shared monthly with the Manager.

- Chemical balance and adjustment — chlorine, pH, alkalinity, calcium hardness, cyanuric acid, and stabilizers — to maintain levels within the ranges required by Fla. Admin. Code Ch. 64E-9 and manufacturer specifications.

- Mechanical inspection at every visit — pumps, valves, filtration system, heater, controller, chemical feeders, automation; minor adjustments included.

- Vacuum, brush, and skim of pool and spa shells and waterlines at every visit.

- Cartridge filter clean — quarterly; deep-clean and replacement evaluation annually (cartridge replacement cost passed through at the markup quoted on the Bid Sheet, with prior approval).

- Chemical inventory — vendor-supplied, on-site, secured to MSDS / SDS standards; included in the monthly fee at the chemistry levels specified above.

- State / county health-department inspection support — vendor provides on-site representative or written remediation plan within 48 hours of any noted deficiency.

- Weather response — pool and spa secured (covers, chemical adjustment, equipment shutdown / restart) for tropical storm or hurricane events; equipment-room shutdown checklist to be on file with the Manager.

### 3.3  Services Excluded (As-Needed or Separate)

- Major equipment repair or replacement (pump, heater, filter housing, controller, salt cell, automation upgrades) — billed under approved work order at the labor rate plus materials at the markup quoted.

- Pool resurfacing, tile repair, deck repair, expansion-joint replacement — separate scope.

- Drain cover (VGB compliance) replacement beyond the recurring inspection.

- Acid wash, drain-and-refill, chemical shock beyond ordinary chemistry adjustments — billed under approved work order.

### 3.4  Quality Standard

- Free chlorine, pH, and other chemistry within the ranges required by Fla. Admin. Code Ch. 64E-9 at all times; remediation within 24 hours of any out-of-range reading.

- No visible debris, biofilm, or algae on shells or waterlines at the end of any service visit.

- Equipment room dry, organized, SDS-current, with chemical containers labeled per OSHA HazCom standards.

- Service log on site current, legible, and signed by the technician at each visit.

### 3.5  Reporting & Communication

- Single named Account Manager assigned to the Association for the duration of the contract.

- Lead Technician identified by name; English-speaking and reachable by phone during service hours.

- Monthly written report submitted to the Manager within five (5) business days of month-end. Report includes water-test summaries, mechanical observations, recommendations, and any deficiency photos.

- Quarterly walk-through with the Board pool / amenity liaison and Manager.

- 48-hour written acknowledgment of any owner or Manager service request submitted in writing; emergency response within 4 hours of vendor notification.

SECTION 4

# Instructions to Proposers

### 4.1  Submission Method

Sealed proposals must be submitted via email to rfp@tarponbay-condo.example with the subject line “2026-08-POOL — [Vendor Name]”. Late, unsigned, or incomplete submissions will not be considered.

### 4.2  Question & Answer Period

All questions must be submitted in writing to Marcus Hill, Association Manager, by September 17, 2026, 5:00 PM Local Time. Phone questions will not be answered.

### 4.3  Mandatory Pre-Proposal Site Visit

A mandatory site visit will be held September 11, 2026, at 10:00 AM at the Tarpon Bay pool deck. Up to two (2) representatives per bidder may attend. Bidders must register attendees by email no later than September 8, 2026, 5:00 PM. Failure to attend the site visit will disqualify a proposal.

### 4.4  Required Submittals

- Cover letter signed by an authorized officer.

- Completed Vendor Information Form (Section 7).

- Three (3) Past Performance References (Section 8) for similar Florida commercial pool contracts.

- Certificate of Insurance evidencing Section 9 coverage.

- Bid Sheet (Section 11).

- Bid Authorization & Affidavit (Section 12).

- Management Approach narrative — not more than ten (10) pages — covering organizational structure, technician qualifications, chemistry program, hurricane response, and complaint resolution.

- Florida Department of Business and Professional Regulation Commercial Pool / Spa Servicing Contractor license number for the named applicator(s) and / or qualifying agent.

- Documentation that the lead technician holds a current Certified Pool Operator (CPO) or equivalent recognized certification.

SECTION 5

# Evaluation of Proposals

Proposals will be evaluated by the Board (or its designated committee). Each criterion is rated as Acceptable or Unacceptable; any proposal rated Unacceptable on a threshold criterion will not be considered further. Final award will be made to the lowest-priced, technically acceptable bidder, subject to successful contract negotiation and compliance with Fla. Stat. § 718.3026.

| CRITERION | STANDARD FOR ACCEPTABLE RATING |
| --- | --- |
| Company Experience | Five (5) or more years in commercial pool / spa servicing in Florida, with sufficient personnel and equipment to service this contract. |
| Past Performance | At least three (3) similar-scope Florida commercial pool contracts in the last five (5) years; reference contacts confirm satisfactory performance and Health-Department-inspection record. |
| Insurance & Licensing | Insurance certificate evidences Section 9 coverage; FL DBPR Commercial Pool Servicing Contractor license is current; lead technician holds a current CPO or equivalent. |
| Quality Approach | Management plan addresses chemistry standards, mechanical inspection, hurricane response, SDS compliance, and complaint resolution. |
| Pricing | All-inclusive monthly and annualized price valid 60 days, completed in the format of the Bid Sheet (Section 11). |
| Site Visit Attendance | Bidder attended the mandatory pre-proposal site visit on September 11, 2026. |

SECTION 6

# Conflicts of Interest

Each proposer shall disclose, in its cover letter, any current or prior relationship between the proposer (or any owner, officer, employee, or relative thereof within the third degree of consanguinity or affinity) and any current Director, Officer, Committee Member, or Manager of the Association.

The Association will follow the procedures of Fla. Stat. § 718.3027 (Conflicts of interest) and § 720.3033 (as applicable) in evaluating any proposal involving a director, officer, or relative thereof, including the rebuttable presumption, agenda, supermajority approval, and member-cancellation procedures specified by statute.

SECTION 7  /  FORM 1

# Vendor Information Form

| Legal Company Name | ____________________________________________________________ |
| --- | --- |
| DBA / Trade Name (if any) | ____________________________________________________________ |
| Main Office Address | ____________________________________________________________ |
| Authorized Contact (Name / Title) | ____________________________________________________________ |
| Phone | ____________________________________________________________ |
| Email | ____________________________________________________________ |
| FL DBPR Commercial Pool / Spa License # | ____________________________________________________________ |
| Qualifying Agent Name & License # | ____________________________________________________________ |
| Year Founded | ____________________________________________________________ |
| Years in Florida Commercial Pool Service | ____________________________________________________________ |
| No. of Permanent Employees | ____________________________________________________________ |
| Last calendar year pool-service revenue ($) | ____________________________________________________________ |
| CPO / Equivalent Certifications Held by Lead Technicians | ____________________________________________________________ |
| EIN / Federal Tax ID | ____________________________________________________________ |
| W-9 on file with the Association? | ____________________________________________________________ |

SECTION 8  /  FORM 2

# Past Performance References (3)

Provide three (3) references for similar-scope Florida commercial pool contracts completed within the last five (5) years. Reference contacts must consent to be contacted by the Association.

REFERENCE 1

| Project / Property Name | ____________________________________________________________ |
| --- | --- |
| Property Address | ____________________________________________________________ |
| Reference Contact (Name / Title) | ____________________________________________________________ |
| Phone | ____________________________________________________________ |
| Email | ____________________________________________________________ |
| Service Category & Scope | ____________________________________________________________ |
| Monthly Contract Value ($) | ____________________________________________________________ |
| Years Served (From – To) | ____________________________________________________________ |
| May the Association contact this reference? (Y / N) | ____________________________________________________________ |

REFERENCE 2

| Project / Property Name | ____________________________________________________________ |
| --- | --- |
| Property Address | ____________________________________________________________ |
| Reference Contact (Name / Title) | ____________________________________________________________ |
| Phone | ____________________________________________________________ |
| Email | ____________________________________________________________ |
| Service Category & Scope | ____________________________________________________________ |
| Monthly Contract Value ($) | ____________________________________________________________ |
| Years Served (From – To) | ____________________________________________________________ |
| May the Association contact this reference? (Y / N) | ____________________________________________________________ |

REFERENCE 3

| Project / Property Name | ____________________________________________________________ |
| --- | --- |
| Property Address | ____________________________________________________________ |
| Reference Contact (Name / Title) | ____________________________________________________________ |
| Phone | ____________________________________________________________ |
| Email | ____________________________________________________________ |
| Service Category & Scope | ____________________________________________________________ |
| Monthly Contract Value ($) | ____________________________________________________________ |
| Years Served (From – To) | ____________________________________________________________ |
| May the Association contact this reference? (Y / N) | ____________________________________________________________ |

SECTION 9

# Insurance Requirements

Proposer shall maintain, at its sole expense, the following minimum insurance coverages throughout the term of any resulting contract.

- Commercial General Liability — minimum $1,000,000 per occurrence and $2,000,000 aggregate, including products / completed operations and contractual liability. Tarpon Bay Condominium Association, Inc., its Board, Managing Agent, and Tarpon Bay Property Management LLC named as additional insureds.

- Commercial Auto Liability — minimum $1,000,000 combined single limit, including owned, non-owned, and hired vehicles.

- Workers’ Compensation & Employer’s Liability — Workers’ Comp at the Florida statutory limit; Employer’s Liability of not less than $1,000,000 each accident / disease / disease policy limit.

- Pollution / Chemical Liability — minimum $1,000,000 per occurrence chemical / pollution liability, on a coverage form acceptable to the Association.

- Umbrella / Excess Liability — minimum $2,000,000 over the underlying coverages.

- Notice of Cancellation — 30 days’ written notice to the Association in the event of cancellation or material change.

INSURANCE COORDINATION This Section 9 should be reviewed by the Association’s insurance broker against the Association’s master condominium policy issued under Fla. Stat. § 718.111(11) before this RFP is issued.

SECTION 10

# Contract Terms (Summary)

The proposer awarded this RFP shall enter into a written services agreement with the Association on terms substantially as follows.

- Term — 12 months, January 1, 2027 through December 31, 2027, with two (2) one-year renewal options at the Association’s sole discretion and a price review at each anniversary.

- Pricing — monthly fixed-fee for the recurring scope; as-needed work billed at the labor and material rates in the Bid Sheet upon written approval of the Manager.

- Termination for Convenience — either party may terminate on thirty (30) days’ written notice without penalty.

- Termination for Cause — Association may terminate immediately on written notice for material breach not cured within ten (10) days, including any failure to maintain chemistry within the ranges required by Fla. Admin. Code Ch. 64E-9.

- Independent Contractor — Vendor is an independent contractor; no employer-employee relationship is created.

- Indemnification — Vendor shall indemnify and hold harmless the Association, Board, Manager, and Agents from claims arising out of Vendor’s acts or omissions.

- Compliance — Vendor shall comply with Fla. Stat. Ch. 718, Fla. Admin. Code Ch. 64E-9, OSHA HazCom requirements, and all other applicable federal, state, and local law.

- Governing Law & Venue — Laws of the State of Florida; venue in Collier County, Florida.

SECTION 11  /  FORM 3

# Bid Sheet

Pricing inclusive of all state and local sales tax. Pricing valid sixty (60) days after the Proposal Due Date.

| BID MATRIX | MONTHLY | ANNUAL |
| --- | --- | --- |
| Base Recurring Service — Three (3) weekly chemical / mechanical visits per Section 3.2; chemicals included; cartridge cleans included quarterly |  |  |
| Add-on — Annual cartridge replacement (per filter) |  |  |
| Add-on — Hurricane / tropical-storm secure-and-restart (per event) |  |  |
| As-Needed Labor Rate — Pool Technician (per man-hour) |  |  |
| As-Needed Labor Rate — Pool Mechanical Specialist (per man-hour) |  |  |
| Materials / Pass-Through Markup (%) |  |  |
| TOTAL — All-Inclusive |  |  |

SECTION 12  /  FORM 4

# Bid Authorization & Affidavit

By signing below, the undersigned officer of the proposing company certifies, under penalty of perjury, the following:

- The proposing company has examined the RFP and its specifications and has prepared the Bid Sheet with care.

- Neither the proposing company, nor any of its agents, officers, employees, or affiliates, has — directly or indirectly — entered into any agreement, participated in any collusion, or otherwise taken any action in restraint of free competitive bidding in connection with this RFP.

- The proposing company has disclosed all known conflicts of interest as required by Section 6 of this RFP, in compliance with Fla. Stat. §§ 718.3027 and 720.3033 as applicable.

- The proposing company is currently licensed by the Florida Department of Business and Professional Regulation as a Commercial Pool / Spa Servicing Contractor, and the qualifying agent named on the Vendor Information Form is in good standing.

- All work proposed will be performed at the proposing company’s sole cost and expense, in the manner provided in the RFP and at the times specified.

- Pricing on the Bid Sheet is firm and valid for sixty (60) calendar days after the Proposal Due Date.

| Signature Print Name: ____________________________________ Title: ____________________________________ | Company Name Date: ____________________________________ RFP Reference #: ____________________________ |
| --- | --- |

DISCLAIMER

## CIC-SC Disclaimer

This resource is provided by the Common Interest Community Standards Council (CIC-SC) for general educational and informational purposes only. Community association laws and requirements vary by state and may change over time. This material is not legal, financial, insurance, reserve, or professional management advice and should not be relied upon as a substitute for consulting qualified professionals familiar with your specific circumstances and jurisdiction. While CIC-SC strives for accuracy and relevance, no guarantee is made regarding completeness, accuracy, or compliance with applicable laws.

© Common Interest Community Standards Council (CIC-SC)

CIC-SC.org